## Slide 1: GOES M9 Flare 20 October 2012 18:05 18:14 18:19 UT AR 11598
Brian Dennis
24 October 2012

## Slide 2
GOES M9 Flare AR 11598, 20 October 2012 18:05 18:14 18:19 UT

## Slide 3: GOES M9 Flare AR 11598, 20 October 2012 18:05 18:14 18:19 UT
Detectors #1 and 6 have finest energy resolution.
Fe line complex at 6.7 keV
“Background” lines at ~8 and ~11 keV.

## Slide 4: GOES M9 Flare AR 11598, 20 October 2012 18:05 18:14 18:19 UT
vth + thin2
Fe abundance
= 4.95 x coronal!!!

## Slide 5: GOES M9 Flare AR 11598, 20 October 2012 18:05 18:14 18:19 UT
vth + thin2
Fe abundance
= 0.6 x coronal
Systematic residuals

## Slide 6: GOES M9 Flare AR 11598, 20 October 2012 18:05 18:14 18:19 UT
multitherm_abun_pow + thin2
Fe abundance
= 0.6 x coronal
Reduced chi-squared
= 0.91

## Slide 7: Conclusions
Detectors 1, 3, 6, 7, 8, 9 are working well.
Detector 6 has remarkably good energy resolution.
Detector 3 has lower sensitivity as always
Use visibility normalization to determine relative detector sensitivities –
  1.03,0.00,1.11,0.00,1.01,1.06,0.94,0.92,0.96

## Slide 8: 22 Oct. 2012 18:11:52 to 18:12:20 UT 12 to 25 keV
CLEAN
MEM-NJIT

## Slide 9: GOES X2 Flare 23 October 2012 AR 11598
Brian Dennis
24 October 2012

## Slide 10: 23 October 2012

## Slide 11: 23 October 2012

## Slide 12: 23 October 2012